## Load List
|  | MCC/CDP Name: | XXXXX |  |  |  |  | Room:
Type : |  |  | Emergency/Normal/UPS |  |  |  |  | Manufacture:
Voltage: |  |  | 120/208V or 347/600V |  |  |  |  | Model Number:
Phase/Wire: |  |  | 3 Phase/ 4 Wire |  |  |  |  | Mounting:
Upstream Over Current Protection Rating: |  |  | 100A |  |  |  |  | Bus Size:
Upstream Over Current Protection location: |  |  | Panel xxxx - RM Cxxxx |  |  |  |  | Mains: | Breaker - 100A/Lugs
Arc Flash Incident Energy/Hazard Category:
SLD Drawing Reference Number:
Breaker ID | Revision Number | Load Description | Type of Load | Connected Load (W) | Name Plate FLA (A) | Phase | Overcurrent Protection type | Overcurrent trip Rating | Overcurrent Frame Rating | Overcurrent protection kA rating | Wire Gauge
A1 | 0 | PNL - Panel name - Cxx | Continuous/Intermittent/ Periodic/ Short time/Varying | 1000 | 10 | 3 | CB/Fused disconnect | 100A | 150A | 10kA | 3-#12 AWG
A2 | 0 | MECH - Mechanical Unit - Cxx
A3 | 0 | SPACE | - | - | - | - | - | - | - | - | -
B2 | 0 | XFMR - Transformer Name - Cxx
B3 | 0 | SPARE | - | - | - | 3 | CB/Fused disconnect | 100A | 150A | 10kA | -
C1 | 0 | EQPT - Equipment ID and system ie. Baggage - Cxx
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | To Modify Load List Contact Permits_EICR@yvr.ca |  |  |  |  | Total Connected Amps | 10 | A
|  | Turn Page over for More Information |  |  |  |  | Total Connected Load | 1000 | W
Current Revision Number:
|  | Date Last Revised: | 2016-03-30
Recent Facility Application Permit:

## MCC Layout
MCC: xx
A1 | B1 | C1 | D1 | E1 | F1 | G1
A2 | B2 | C2 | D2 | E2 | F2 | G2
A3 | B3 | C3 | D3 | E3 | F3 | G3
| B4 | C4 | D4 | E4 | F4 | G4
A5 | B5 | C5 | D5 | E5 | F5 | G5
A6 | B6 | C6 | D6 | E6 | F6 | G6
A7 | B7 | C7 | D7 | E7 | F7 | G7
A8 | B8 | C8 | D8 | E8 | F8 | G8
To Modify Load List Contact Permits_EICR@yvr.ca

## CDP Layout
CDP Name: xx
| A1 | B1
| A2 | B2
| A3 | B3
| A4 | B4
A5
| A7 | B7
| A8 | B8
| A9 | B9
| A10 | B10
To Modify Load List Contact Permits_EICR@yvr.ca