## Load List
|  |  | MCC/CDP Name: | XXXXX | [7 empty] | Room:
|  |  | Type : | Emergency/Normal/UPS | [7 empty] | Manufacture:
|  |  | Voltage: | 347/600V | [7 empty] | Model Number:
|  |  | Phase/Wire: | 3 Phase/ 4 Wire | [7 empty] | Mounting:
|  |  | Upstream Over Current Protection Rating: | 100A | [7 empty] | Bus Size:
|  |  | Upstream Over Current Protection location: | Panel xxxx - RM Cxxxx | [7 empty] | Mains: | Breaker - 100A/Lugs
Arc Flash Incident Energy/Hazard Category:
SLD Drawing Reference Number:
Breaker ID | Revision Number | Load Description |  |  |  | Connected Load |  |  |  | Power Supply |  | Overcurrent Protection |  |  |  | Wire Gauge | Starter |  | Disconnect |  | Controls |  | Notes
|  | Equipment ID | Description | Location | Areas Served | Type of Load | Horse Power | Wattage (W) | FLA (A) | Voltage | Phase | Type | Trip | Frame | kA rating |  | Supplied | Installed | Supplied | Installed | Supplied | Installed
A1 | 0 | FC-29012 | Fan Coil Up in ceiling …. | B1234 | B1234, B2222, …. | Continuous/Intermittent/ Periodic/ Short time/Varying | 1.3 | 1000 | 1.6 | 575 | 3 | CB/Fused Disconnect | 15A |  | 10kA | 3-#12 AWG | M | E | E | E | M | M
A2 | 0 | - | SPACE | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | -
A3 | 0 | - | SPARE | - | - | - | - | - | - | - | - | CB | 15A |  | 10kA | - | - | - | - | - | - | - | -
B2 | 0 | - | Main Breaker | - | - | Contineous | - | - | - | - | - | CB | 200A |  | 10kA | ?? | - | - | - | - | - | - | -
B3 | 0
C1 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
To Modify Load List Contact Permits_EICR@yvr.ca
|  |  | Turn Page over for More Information | [8 empty] | Total Load | W
|  |  | Current Revision Number: | [8 empty] | Total Amps | A
|  |  | Date Last Revised: | 2016-03-30
Recent Facility Application Permit:

## MCC Layout
MCC: xx
A1 | B1 | C1 | D1 | E1 | F1 | G1
A2 | B2 | C2 | D2 | E2 | F2 | G2
A3 | B3 | C3 | D3 | E3 | F3 | G3
| B4 | C4 | D4 | E4 | F4 | G4
A5 | B5 | C5 | D5 | E5 | F5 | G5
A6 | B6 | C6 | D6 | E6 | F6 | G6
A7 | B7 | C7 | D7 | E7 | F7 | G7
A8 | B8 | C8 | D8 | E8 | F8 | G8
To Modify Load List Contact Permits_EICR@yvr.ca