## Panel Schedule 42 Cir
|  | Panel Name: |  |  |  |  | Room:
Type : | [6 empty] | Manufacture:
Voltage: | [6 empty] | Model Number:
Phase/Wire: | [6 empty] | Mounting:
Upstream Over Current Protection Rating: | [6 empty] | Bus Size:
Upstream Over Current Protection location: | [6 empty] | Mains:
Arc Flash Incident Energy/Hazard Category:
SLD Drawing Reference Number:
Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge | Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge
1 | 0 | [5 empty] | 2 | 0
3 | 0 | [5 empty] | 4 | 0
5 | 0 | [5 empty] | 6 | 0
7 | 0 | [5 empty] | 8 | 0
9 | 0 | [5 empty] | 10 | 0
11 | 0 | [5 empty] | 12 | 0
13 | 0 | [5 empty] | 14 | 0
15 | 0 | [5 empty] | 16 | 0
17 | 0 | [5 empty] | 18 | 0
19 | 0 | [5 empty] | 20 | 0
21 | 0 | [5 empty] | 22 | 0
23 | 0 | [5 empty] | 24 | 0
25 | 0 | [5 empty] | 26 | 0
27 | 0 | [5 empty] | 28 | 0
29 | 0 | [5 empty] | 30 | 0
31 | 0 | [5 empty] | 32 | 0
33 | 0 | [5 empty] | 34 | 0
35 | 0 | [5 empty] | 36 | 0
37 | 0 | [5 empty] | 38 | 0
39 | 0 | [5 empty] | 40 | 0
41 | 0 | [5 empty] | 42 | 0
|  | To Modify Panel Schedule Contact Permits_EICR@yvr.ca |  |  |  |  | Total W per Phase A |  |  | 0 | W
|  | Turn Page over for More Information |  |  |  |  | Total W per Phase B |  |  | 0 | W
|  | Current Revision Number: |  |  |  |  | Total W per Phase C |  |  | 0 | W
Date Last Revised:
|  | Recent Facility Application Permit: |  |  |  |  | Total Amps |  |  | N/A | A

## Panel Schedule 84 Cir
|  | Panel Name: | EL122E |  |  |  | Room: |  |  | RM C3095 - ER424
Type : |  |  | Emergency |  |  |  | Manufacture: |  |  | Square D
Voltage: |  |  | 120/208V |  |  |  | Model Number: |  |  | NQ
Phase/Wire: |  |  | 3 Phase/ 4 Wire |  |  |  | Mounting: |  |  | Surface
Upstream Over Current Protection Rating: |  |  | 200A @ 208V |  |  |  | Bus Size: |  |  | 225A
Upstream Over Current Protection location: |  |  | EL122 - RM C3095 |  |  |  | Mains: |  |  | Lugs
Arc Flash Incident Energy/Hazard Category: |  |  | 14.39 Cal/cm²
SLD Drawing Reference Number: |  |  | ??
Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge | Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge
1 | [6 empty] | 2
3 | [6 empty] | 4
5 | [6 empty] | 6
7 | [6 empty] | 8
9 | [6 empty] | 10
11 | [6 empty] | 12
13 | [6 empty] | 14
15 | [6 empty] | 16
17 | [6 empty] | 18
19 | [6 empty] | 20
21 | [6 empty] | 22
23 | [6 empty] | 24
25 | [6 empty] | 26
27 | [6 empty] | 28
29 | [6 empty] | 30
31 | [6 empty] | 32
33 | [6 empty] | 34
35 | [6 empty] | 36
37 | [6 empty] | 38
39 | [6 empty] | 40
41 | [6 empty] | 42
|  | To Modify Panel Schedule Contact Permits_EICR@yvr.ca |  |  |  |  | Total W per Phase A |  |  | 0 | W
|  | Turn Page over for More Information |  |  |  |  | Total W per Phase B |  |  | 0 | W
|  | Current Revision Number: |  |  |  |  | Total W per Phase C |  |  | 0 | W
Date Last Revised:
|  | Recent Facility Application Permit: |  |  |  |  | Total Amps |  |  | 0 | A
|  | Panel Name: | EL122E |  |  |  | Room: |  |  | RM C3095 - ER424
Type : |  |  | Emergency |  |  |  | Manufacture: |  |  | Square D
Voltage: |  |  | 120/208V |  |  |  | Model Number: |  |  | NQ
Phase/Wire: |  |  | 3 Phase/ 4 Wire |  |  |  | Mounting: |  |  | Surface
Upstream Over Current Protection Rating: |  |  | 200A @ 208V |  |  |  | Bus Size: |  |  | 225A
Upstream Over Current Protection location: |  |  | EL122 - RM C3095 |  |  |  | Mains: |  |  | Lugs
Arc Flash Incident Energy/Hazard Category: |  |  | 14.39 Cal/cm²
SLD Drawing Reference Number: |  |  | ??
Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge | Breaker ID | Revision Number | Load Description | Estimated Load (W) | Breaker Rating | Breaker kA Rating | Wire Gauge
43 | [6 empty] | 44
45 | [6 empty] | 46
47 | [6 empty] | 48
49 | [6 empty] | 50
51 | [6 empty] | 52
53 | [6 empty] | 54
55 | [6 empty] | 56
57 | [6 empty] | 58
59 | [6 empty] | 60
61 | [6 empty] | 62
63 | [6 empty] | 64
65 | [6 empty] | 66
67 | [6 empty] | 68
69 | [6 empty] | 70
71 | [6 empty] | 72
73 | [6 empty] | 74
75 | [6 empty] | 76
77 | [6 empty] | 78
79 | [6 empty] | 80
81 | [6 empty] | 82
83 | [6 empty] | 84
|  | To Modify Panel Schedule Contact Permits_EICR@yvr.ca |  |  |  |  | Total W per Phase A |  |  | 0 | W
|  | Turn Page over for More Information |  |  |  |  | Total W per Phase B |  |  | 0 | W
|  | Current Revision Number: | 0 |  |  |  | Total W per Phase C |  |  | 0 | W
|  | Date Last Revised: | 0
|  | Recent Facility Application Permit: | 0 |  |  |  | Total Amps |  |  | 0 | A